Disaster Plan and Emergency Preparedness Plan	Week Three – Preparing for an Emergency within your Organization

Are your facility and staff members prepared for the possibility of a fire at your organization?

Corresponding Standards

ICS 8 – Emergency Preparedness

| Complete | Indicator | Corresponding HQAA Standard | Findings | Action/Outcome |
| --- | --- | --- | --- | --- |
|  | Gather staff together and discuss the scenario of a fire at your place of business. Review the processes that your organization has in place for fire safety. | ICS 8 |  |  |
|  | - Identify your organization’s Safety Officer | ICS 8 |  |  |
|  | - Ask each staff member to describe their role and responsibility during a fire. | ICS 8 |  |  |
|  | - Identify the location of all fire extinguishers and demonstrate how to operate a fire extinguisher. | ICS 8 |  |  |
|  | - Identify the location of smoke alarms, sprinkler system, etc and review requirements for maintenance and testing of these items. | ICS 8 |  |  |
|  | - Review evacuation routes: Are the routes posted? Are all routes accessible and clear of debris or obstacles? | ICS 8 |  |  |
|  | - Review the location of emergency phone numbers and ensure that all numbers are up to date. | ICS 8 |  |  |
|  | - Identify storage areas for hazardous materials. Are the storage areas properly placarded so they are easily recognized by emergency workers in case of a fire? | ICS 8 |  |  |
|  | - Has your organization identified a designated place for staff to assemble after evacuating your building? | ICS 8 |  |  |
|  | - Review safeguards that are in place to secure patient data in case of a fire. | ICS 8 |  |  |
|  | Review and update your Emergency Preparedness Plan as you identify any changes that need to be made. | ICS 8 |  |  |